## Typical Bed Unit-32
TYPICAL MEDICAL/SURGICAL UNIT
| Departmental Net Sq. Feet: | 18314
| Departmental Grossing Factor: | 1.5
| Departmental Gross Sq. Feet: | 27471
|  |  | Quantity | NSF/Room | Total NSF | Comment
Public Area
Waiting, Public
| -- seating, public |  | 10 | 20 | 200
| Nourish Area |  | 1 | 40 | 40
| Toilet, Public |  | 2 | 60 | 120
| Reception Area / Check-in |  | 1 | 60 | 60
| Multipurpose Room |  | 1 | 180 | 180
|  |  |  | NSF Subtotal: | 600
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 900
Patient Care
| Patient Room, Universal |  | 31 | 260 | 8060
| Patient Room, Airborne Infection Isolation |  | 4 | 260 | 1040
| Isolation Ante Room |  | 5 | 50 | 250
| Patient Room, I.O.S & A.I.I. |  | 1 | 340 | 340
| Charting Station-Decentralized |  | 18 | 20 | 360
| Alcove-Decentralized |  | 18 | 20 | 360
| Patient Toilet/Shower |  | 35 | 50 | 1750
| Patient Toilet/Shower, I.O.S |  | 1 | 75 | 75
|  |  |  | NSF Subtotal: | 12235
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 18352.5
Patient Care Support
| Business Center |  | 1 | 120 | 120
| Communication Center |  | 2 | 360 | 720
| Touchdown Workstation |  | 3 | 30 | 90
| Medication Room |  | 2 | 145 | 290
| Clean Supply |  | 2 | 145 | 290
| Equipment Storage |  | 2 | 180 | 360
| Specialty Storage |  | 1 | 100 | 100
| Nourishment |  | 2 | 80 | 160
| Housekeeping Closet |  | 2 | 60 | 120
| Soiled Holding |  | 2 | 120 | 240
| Oxygen Storage |  | 1 | 40 | 40
| Multidisciplinary Team Room |  | 1 | 240 | 240
| Alcove, Wheelchair Storage |  | 1 | 20 | 20
| Alcove, Stretcher |  | 1 | 24 | 24
| Alcove, Food Service Cart |  | 2 | 20 | 40
| Alcove, Equipment |  | 1 | 45 | 45
| Alcove, Crash Cart |  | 2 | 10 | 20
| Alcove, Equipment |  | 2 | 40 | 80
| Alcove, PT Stair |  | 1 | 60 | 60
| POC Lab Alcove |  | 2 | 20 | 40
| Unit Specific |  | 1 | 450 | 450
|  |  |  | NSF Subtotal: | 3549
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 5323.5
Staff Support
| Break Room |  | 1 | 300 | 300
| Lockers |  | 1 | 120 | 120
| Toilet, Staff |  | 3 | 54 | 162
| Staff Lactation/Respite |  | 1 | 60 | 60
|  |  |  | NSF Subtotal: | 642
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 963
Administrative Support
| Office-Private |  | 3 | 100 | 300
| Office-Shared (3) |  | 1 | 140 | 140
| Office-Shared (4) |  | 1 | 180 | 180
| Workroom, Physicians |  | 1 | 200 | 200
|  |  |  | NSF Subtotal: | 820
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 1230
Building Support Per Floor
| Closet, IT (TDR) |  | 2 | 126 | 252
| Closet, Electrical |  | 2 | 108 | 216
|  |  |  | NSF Subtotal: | 468
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 702

## Typical Bed Unit-32 ICU
ICU / PROGRESSIVE CARE
| Departmental Net Sq. Feet: | 18144 |  |  |  | Macro Program Placeholder: 28,800 DGSF
| Departmental Grossing Factor: | 1.5
| Departmental Gross Sq. Feet: | 27216
|  |  | Quantity | NSF/Room | Total NSF | Comment
Public Area
Waiting, Public
| -- seating, public |  | 16 | 20 | 320
| Toilet, Public |  | 2 | 60 | 120
| Reception Area / Check-in |  | 1 | 60 | 60
| Nourish Area |  | 1 | 40 | 40
| Multipurpose Room |  | 1 | 180 | 200
|  |  |  | NSF Subtotal: | 740
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 1110
Patient Care
| Patient Room, Universal |  | 29 | 260 | 7540
| Patient Room, Airborne Infection Isolation |  | 4 | 260 | 1040
| Isolation Ante Room |  | 5 | 50 | 250
| Patient Room, I.O.S & A.I.I. |  | 1 | 340 | 340
| Charting Station-Decentralized |  | 17 | 20 | 340
| Alcove-Decentralized |  | 17 | 20 | 340
| Patient Toilet/Shower |  | 33 | 50 | 1650
| Patient Toilet/Shower, I.O.S |  | 1 | 75 | 75
|  |  |  | NSF Subtotal: | 11575
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 17362.5
Patient Care Support
| Business Center |  | 1 | 120 | 120
| Communication Center |  | 2 | 360 | 720
| Telemetry monitoring station |  | 3 | 30 | 90
| Medication Room |  | 2 | 145 | 290
| Clean Supply |  | 2 | 145 | 290
| Equipment Storage |  | 2 | 360 | 720
| Specialty Storage |  | 1 | 100 | 100
| Nourishment |  | 2 | 80 | 160
| Housekeeping Closet |  | 2 | 60 | 120
| Soiled Holding |  | 2 | 120 | 240
| Oxygen Storage |  | 1 | 40 | 40
| Multidisciplinary Team Room |  | 1 | 240 | 240
| Alcove, Wheelchair Storage |  | 1 | 20 | 20
| Alcove, Stretcher |  | 1 | 24 | 24
| Alcove, Food Service Cart |  | 2 | 20 | 40
| Alcove, Radiology Storage |  | 1 | 45 | 45
| Alcove, Crash Cart |  | 2 | 10 | 20
| Alcove, Equipment |  | 2 | 40 | 80
| Alcove, PT Stair |  | 1 | 60 | 60
| POC Lab Alcove |  | 2 | 20 | 40
| Unit Specific |  | 1 | 450 | 450
|  |  |  | NSF Subtotal: | 3909
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 5863.5
Staff Support
| Break Room |  | 1 | 300 | 300
| Lockers |  | 1 | 110 | 110
| Toilet, Staff |  | 3 | 54 | 162
| On-Call Room |  | 0 | 160 | 0
| Staff Lactation/Respite |  | 1 | 60 | 60
|  |  |  | NSF Subtotal: | 632
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 948
Administrative Support
| Office-Private |  | 3 | 100 | 300
| Office-Shared (3) |  | 1 | 140 | 140
| Office-Shared (4) |  | 1 | 180 | 180
| Workroom, Physicians |  | 1 | 200 | 200
|  |  |  | NSF Subtotal: | 820
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 1230
Building Support Per Floor
| Closet, IT (TDR) |  | 2 | 126 | 252
| Closet, Electrical |  | 2 | 108 | 216
|  |  |  | NSF Subtotal: | 468
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 702

## Emergency
EMERGENCY DEPARTMENT
| Departmental Net Sq. Feet: | 11021 |  |  |  | Macro Program Placeholder: 12,766 DGSF
| Departmental Grossing Factor: | 1.55
| Departmental Gross Sq. Feet: | 17082.55
|  |  | Quantity | NSF/Room | Total NSF | Comment
Public Area
| Vestibule |  | 1 | 160 | 160
| Valet |  | 1 | 40 | 40
| Weapons Detection Area |  | 1 | 60 | 60
| Security Workstation |  | 1 | 60 | 60
Waiting, Public
| -- seating, public |  | 36 | 20 | 720
| Toilet, Public |  | 2 | 60 | 120
| Vending |  | 1 | 40 | 40
| ED Advisor |  | 1 | 40 | 40
| Greeter |  | 2 | 40 | 80
| Check-in / Registration |  | 3 | 80 | 240
| Registration at Back - RN Station |  | 1 | 40 | 40
| Alcove, Wheelchair |  | 1 | 40 | 40
| Alcove, Stretcher |  | 1 | 24 | 24
|  |  |  | NSF Subtotal: | 1664
|  |  |  | Grossing Factor: | 1.55
|  |  |  | DGSF Subtotal: | 2579.2
Patient Care
| Lab Draw |  | 1 | 50 | 50
| Triage |  | 2 | 140 | 280
| Sub-waiting |  | 6 | 30 | 180
| Flex Track-Room |  | 0 | 100 | 0
| Flex Track-Chair |  | 0 | 60 | 0
| Exam Room |  | 8 | 140 | 1120
| Exam Room, Airborne Infection Isolation |  | 4 | 140 | 560
| Exam Room, Protective Environment |  | 1 | 140 | 140
| Ante room, PE |  | 1 | 100 | 100
| Exam Room, BH Flex |  | 2 | 140 | 280
| Exam Room, SANE/GYN/OB |  | 1 | 140 | 140
| Exam Room, Individual of Size/A.I.I. |  | 1 | 200 | 200
| Trauma/Resuscitation |  | 1 | 285 | 285
| Patient Toilet |  | 8 | 60 | 480
| Patient Toilet/Shower |  | 1 | 70 | 70
| Patient Toilet/Shower, I.O.S. |  | 1 | 75 | 75
| Consultation |  | 1 | 100 | 100
| Quiet Room |  | 1 | 100 | 100
| Decontamination |  | 1 | 120 | 120
|  |  |  | NSF Subtotal: | 4280
|  |  |  | Grossing Factor: | 1.55
|  |  |  | DGSF Subtotal: | 6634
Patient Care Support
| Nurse Station |  | 2 | 240 | 480
| Pnuematic Tube Station |  | 2 | 10 | 20
| Physicians Workroom |  | 1 | 240 | 240
| Pharmacist Workstation |  | 1 | 40 | 40
| Nourishment |  | 1 | 80 | 80
| Medication Room |  | 1 | 145 | 145
| Clean Supply |  | 1 | 145 | 145
| Equipment Storage |  | 1 | 200 | 200
| Specialty Storage |  | 1 | 80 | 80
| Vent Cleaning |  | 0 | 100 | 0
| Housekeeping Closet |  | 1 | 60 | 60
| Soiled Holding |  | 1 | 140 | 140
| Oxygen Storage |  | 0 | 40 | 0
| Multidisciplinary Team Room |  | 1 | 240 | 240
| Alcove, Warmer |  | 2 | 18 | 36
| Alcove, Wheelchair |  | 1 | 20 | 20
| Alcove, Stretcher |  | 1 | 24 | 24
| Alcove, Imaging Storage |  | 1 | 45 | 45
| Alcove, Crash Cart |  | 2 | 10 | 20
| Alcove, Equipment/Cart |  | 1 | 40 | 40
| POC Lab |  | 1 | 20 | 20
| Emergency Management & Decon Storage |  | 1 | 100 | 100
| Vestibule |  | 1 | 160 | 160
| Ambulance Garage |  | 1 | 1500 | 1500
|  |  |  | NSF Subtotal: | 3835
|  |  |  | Grossing Factor: | 1.55
|  |  |  | DGSF Subtotal: | 5944.25
Staff Support
| Break Room |  | 1 | 300 | 300
| Lockers |  | 1 | 120 | 120
| Toilet, Staff |  | 2 | 54 | 108
| EMS Workroom |  | 1 | 80 | 80
| Staff Lactation/Respite |  | 1 | 60 | 60
|  |  |  | NSF Subtotal: | 668
|  |  |  | Grossing Factor: | 1.55
|  |  |  | DGSF Subtotal: | 1035.4
Administrative Support
| Office-Private |  | 2 | 100 | 200
| Office-Shared (3) |  | 1 | 140 | 140
|  |  |  | NSF Subtotal: | 340
|  |  |  | Grossing Factor: | 1.55
|  |  |  | DGSF Subtotal: | 527
Building Support Per Floor
| Closet, IT (TDR) |  | 1 | 126 | 126 | 9'x14'
| Closet, Electrical |  | 1 | 108 | 108 | 9'x12'
|  |  |  | NSF Subtotal: | 234
|  |  |  | Grossing Factor: | 1.55
|  |  |  | DGSF Subtotal: | 362.7

## Imaging-Satellite ED
IMAGING - SATELLITE
| Departmental Net Sq. Feet: | 3934
| Departmental Grossing Factor: | 1.5
| Departmental Gross Sq. Feet: | 5901
|  |  | Quantity | NSF/Room | Total NSF | Comments
Public Area
Waiting, Public
| -- seating, public |  | 4 | 20 | 80
| Toilet, Public |  | 0 | 60 | 0
| Check-in / Registration |  | 3 | 40 | 120
| Consultation |  | 0 | 100 | 0
|  |  |  | NSF Subtotal: | 200
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 300
Patient Care
| Changing Room |  | 2 | 60 | 120
| Toilet, Patient |  | 3 | 60 | 180
| Prep/Recovery Room |  | 1 | 140 | 140
| General Radiology/Fluoro |  | 1 | 400 | 400
| General Radiology Control |  | 1 | 40 | 40
| Tech Workroom |  | 4 | 50 | 200
| CT |  | 1 | 450 | 450
| CT Control |  | 1 | 120 | 120
| CT Equipment |  | 1 | 120 | 120
| MRI |  | 1 | 600 | 600
| MRI Control |  | 1 | 120 | 120
| MRI Change |  | 1 | 60 | 60
| MRI Patient Toilet |  | 1 | 60 | 60
| MRI Equipment |  | 1 | 160 | 160
| MRI Zone II |  | 1 | 100 | 100
| MRI Zone III |  | 1 | 140 | 140
| Ultrasound |  | 1 | 180 | 180
| Alcove, Radiology Storage |  | 1 | 30 | 30
| Alcove, Stretcher |  | 1 | 30 | 30
| Alcove, Wheelchair |  | 1 | 20 | 20
| Alcove, Crash Cart |  | 1 | 10 | 10
|  |  |  | NSF Subtotal: | 3280
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 4920
Patient Care Support
| Nurse Station |  | 1 | 60 | 60
| Clean Supply / Equipment |  | 1 | 80 | 80
| Soiled Workroom |  | 0 | 100 | 0
| Equipment Storage |  | 0 | 60 | 0
| Reading Room |  | 1 | 80 | 80
| Closet, Housekeeping |  | 1 | 60 | 60
|  |  |  | NSF Subtotal: | 220
|  |  |  | Grossing Factor: | 1.55
|  |  |  | DGSF Subtotal: | 341
Staff Support
| Break Room |  | 0 | 200 | 0
| Lockers |  | 0 | 20 | 0
| Staff Toilet |  | 0 | 60 | 0
|  |  |  | NSF Subtotal: | 0
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 0
Administrative Support
| Office-Private |  | 0 | 100 | 0
| Office-Shared (2) |  | 1 | 120 | 120
|  |  |  | NSF Subtotal: | 120
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 180
Building Support Per Floor
| UPS Room |  | 0 | 168 | 0
| Closet, IT (TDR) |  | 1 | 126 | 126
| Closet, Electrical |  | 1 | 108 | 108
|  |  |  | NSF Subtotal: | 234
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 351

## CV Center - Imaging
CARDIOVASCULAR CENTER
| Departmental Net Sq. Feet: | 1533 |  |  |  | Macro Program Placeholder: NICV 1350 DGSF
| Departmental Grossing Factor: | 1.5
| Departmental Gross Sq. Feet: | 2299.5
|  |  | Quantity | NSF/Room | Total NSF | Comments
Public Area
Waiting, Public
| -- seating, public |  | 4 | 20 | 80
| Toilet, Public |  | 0 | 60 | 0
| Check-in / Registration |  | 1 | 60 | 60
| Consultation |  | 0 | 100 | 0
|  |  |  | NSF Subtotal: | 140
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 210
Patient Care
| PFT Room |  | 1 | 120 | 120
| Patient Toilet Room |  | 1 | 60 | 60
| Echo/EKG/Vascular |  | 2 | 160 | 320
| Stress Test |  | 1 | 225 | 225
|  |  |  | NSF Subtotal: | 725
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 1087.5
Patient Care Support
| Nurse Station |  | 0 | 120 | 0
| CV Tech Workroom |  | 8 | 30 | 240
| CV Read Room |  | 1 | 160 | 160
| Medication Alcove |  | 1 | 30 | 30
| Nourishment |  | 1 | 30 | 30
| Clean Supply |  | 1 | 60 | 60
| Soiled Workroom |  | 1 | 120 | 120
| Equipment Storage |  | 0 | 60 | 0
| Alcove, Equipment |  | 0 | 30 | 0
| Alcove, Stretcher |  | 0 | 24 | 0
| Alcove, Wheelchair |  | 0 | 20 | 0
| Alcove, Crash Cart |  | 1 | 10 | 10
| Closet, Housekeeping |  | 0 | 60 | 0
|  |  |  | NSF Subtotal: | 650
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 975
Staff Support
| Break Room |  | 0 | 200 | 0
| Lockers |  | 12 | 1.5 | 18
| Staff Toilet |  | 0 | 60 | 0
|  |  |  | NSF Subtotal: | 18
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 27
Administrative Support
| Office-Private |  | 0 | 100 | 0
|  |  |  | NSF Subtotal: | 0
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 0

## Procedural-11
PROCEDURAL PLATFORM
| Departmental Net Sq. Feet: | 19312 |  |  |  | Macro Program Placeholder: 32,036 DGSF
| Departmental Grossing Factor: | 1.6
| Departmental Gross Sq. Feet: | 30899.2
|  |  | Quantity | NSF/Room | Total NSF | Comment
Public Area
Waiting, Public
| -- seating, public |  | 0 | 20 | 0
| Toilet, Public |  | 0 | 60 | 0
| Check-in |  | 0 | 60 | 0
| Nourish |  | 0 | 40 | 0
| Consultation |  | 4 | 100 | 400
|  |  |  | NSF Subtotal: | 400
|  |  |  | Grossing Factor: | 1.6
|  |  |  | DGSF Subtotal: | 640
Patient Care
| Operating Room |  | 8 | 750 | 6000
| Operating Room, Large |  | 1 | 1000 | 1000
| Control Room, Hybrid |  | 1 | 120 | 120
| Equip/UPS Room, Hybrid |  | 1 | 100 | 100
| Cath/EP Lab/IR/Hybrid |  | 2 | 1000 | 2000
| Control Room, Cath/EP Lab/IR/Hybrid |  | 2 | 150 | 300
| Equip/UPS Room, Cath/EP Lab/IR/Hybrid |  | 2 | 100 | 200
| Interventional Radiology |  | 0 | 750 | 0
| Control Room, IR |  | 0 | 150 | 0
| Equip/UPS Room, IR |  | 0 | 120 | 0
| Alcove, Scrub |  | 11 | 30 | 330
| Alcove, Stretcher |  | 11 | 30 | 330
|  |  |  | NSF Subtotal: | 10380
|  |  |  | Grossing Factor: | 1.6
|  |  |  | DGSF Subtotal: | 16608
Patient Care Support
| Control Desk |  | 1 | 200 | 200
| Anesthesia Workroom |  | 1 | 240 | 240
| Anesthesia Supplies |  | 1 | 140 | 140
| Sterile Core, OR |  | 11 | 150 | 1650
| OR Equipment Storage |  | 9 | 100 | 900
| Hybrid Equipment Storage |  | 2 | 150 | 300
| Sterile Supply Storage |  | 0 | 350 | 0
| Case Cart Staging |  | 30 | 14 | 420
| Frozen Section |  | 0 | 200 | 0
| Physician Dictation |  | 6 | 40 | 240
| Read Room |  | 2 | 80 | 160
| Soiled Workroom |  | 1 | 180 | 180
| Housekeeping Closet |  | 1 | 60 | 60
| Alcove, Warmer |  | 2 | 20 | 40
| Alcove, Case Cart |  | 0 | 30 | 0
| Alcove, Crash Cart |  | 3 | 10 | 30
| Alcove, Equipment |  | 4 | 30 | 120
| Alcove, Radiology Storage |  | 4 | 45 | 180
| Alcove, PPE |  | 2 | 24 | 48
|  |  |  | NSF Subtotal: | 4908
|  |  |  | Grossing Factor: | 1.6
|  |  |  | DGSF Subtotal: | 7852.8
Staff Support
| Med Staff Lounge |  | 1 | 600 | 600
| Break Room |  | 1 | 360 | 360
| Scrub Issue/Return |  | 1 | 100 | 100
| Lockers, Male - Nursing |  | 1 | 180 | 180
| Lockers, Female - Nursing |  | 1 | 400 | 400
| Lockers, Male - Physicians |  | 1 | 140 | 140
| Lockers, Female - Physicians |  | 1 | 140 | 140
| Toilet, Staff |  | 4 | 54 | 216
| Shower, Staff |  | 2 | 50 | 100
| Toilet, Staff |  | 2 | 54 | 108
| Staff Lactation |  | 1 | 60 | 60
|  |  |  | NSF Subtotal: | 2404
|  |  |  | Grossing Factor: | 1.6
|  |  |  | DGSF Subtotal: | 3846.4
Administrative Support
| Office-Private |  | 3 | 100 | 300
| Office-Shared(3) |  | 1 | 140 | 140
| Office-Shared(4) |  | 1 | 180 | 180
| Multidisciplinary Team Room |  | 1 | 240 | 240
|  |  |  | NSF Subtotal: | 860
|  |  |  | Grossing Factor: | 1.6
|  |  |  | DGSF Subtotal: | 1376
Building Support Per Floor
| Closet, IT (TDR) |  | 1 | 126 | 126
| OR Integration, Server |  | 1 | 126 | 126
| Closet, Electrical |  | 1 | 108 | 108
|  |  |  | NSF Subtotal: | 360
|  |  |  | Grossing Factor: | 1.6
|  |  |  | DGSF Subtotal: | 576

## Endo GI-2
ENDOSCOPY/GI SUITE
| Departmental Net Sq. Feet: | 1991 |  |  |  | Macro Program Placeholder: 3,200 DGSF
| Departmental Grossing Factor: | 1.5 |  |  |  | Assumes can be "standalone"
| Departmental Gross Sq. Feet: | 2986.5
|  |  | Quantity | NSF/Room | Total NSF | Comment
Public Area
Waiting, Public
| -- seating, public |  | 6 | 20 | 120
| Toilet, Public |  | 0 | 60 | 0
| Check-in / Registration |  | 0 | 60 | 0
| Nourish Area |  | 0 | 40 | 0
| Consultation |  | 1 | 100 | 100
|  |  |  | NSF Subtotal: | 220
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 330
Patient Care
| Endoscopy Room |  | 2 | 400 | 800
| Prep/Recovery |  | 0 | 140 | 0
| Patient Toilet |  | 0 | 60 | 0
|  |  |  | NSF Subtotal: | 800
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 1200
Patient Care Support
| Nurse Work Area |  | 0 | 160 | 0
| Workroom, Physician (GI) |  | 1 | 160 | 160
| Soiled Workroom |  | 0 | 100 | 0
| Clean Supply |  | 0 | 100 | 0
| Medication Alcove |  | 0 | 60 | 0
| Nourishment |  | 0 | 60 | 0
| Equipment Storage |  | 0 | 100 | 0
| Alcove, Equipment |  | 1 | 30 | 30
| Housekeeping Closet |  | 1 | 50 | 50
| Scope Processing |  | 1 | 220 | 220
| Scope Storage |  | 1 | 140 | 140
| Supply Storage |  | 1 | 200 | 200
| Alcove, Stretcher |  | 0 | 24 | 0
| Alcove, Warmer |  | 1 | 16 | 16
| Alcove, C-arm |  | 1 | 45 | 45
| Alcove, Crash Cart |  | 1 | 10 | 10
|  |  |  | NSF Subtotal: | 871
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 1306.5
Staff Support
| Break Room |  | 0 | 160 | 0
| Lockers, Male |  | 0 | 150 | 0
| Lockers, Female |  | 0 | 200 | 0
| Toilet/Shower, Staff |  | 0 | 75 | 0
| Staff Toilet |  | 0 | 54 | 0
| Staff Lactation |  | 0 | 60 | 0
|  |  |  | NSF Subtotal: | 0
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 0
Administrative Support
| Office-Private |  | 1 | 100 | 100
|  |  |  | NSF Subtotal: | 100
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 150

## PACUPrepRecov
PACU/PREP/RECOVERY
| Departmental Net Sq. Feet: | 10636 |  |  |  | Macro Program Placeholder: 14,499 DGSF
| Departmental Grossing Factor: | 1.5
| Departmental Gross Sq. Feet: | 15954
|  |  | Quantity | NSF/Room | Total NSF | Comment
Public Area
Waiting, Public
| -- seating, public |  | 24 | 20 | 480
| Toilet, Public |  | 2 | 60 | 120
| Check-in / Registration |  | 0 | 60 | 0
| Nourish Area |  | 1 | 40 | 40
| Consultation |  | 0 | 100 | 0
|  |  |  | NSF Subtotal: | 640
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 960
Patient Care
| Intake Alcove |  | 0 | 60 | 0
| PACU |  | 11 | 100 | 1100
| PACU, Airborne Infection Isolation |  | 1 | 100 | 100
| Prep/Recovery |  | 27 | 140 | 3780
| Prep/Recovery, Individual of Size/Airborne Infection Isolation |  | 1 | 200 | 200
| Short Stay |  | 0 | 140 | 0
| Patient Toilet |  | 13 | 60 | 780
| Patient Toilet, I.O.S |  | 1 | 75 | 75
| Isolation Ante Alcove |  | 2 | 10 | 20
|  |  |  | NSF Subtotal: | 6055
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 9082.5
Patient Care Support
| Nurse Station |  | 4 | 200 | 800
| Pneumatic Tube Station |  | 2 | 10 | 20
| Medication Room |  | 0 | 145 | 0
| Medication Alcove |  | 4 | 60 | 240
| Clean Supply |  | 3 | 145 | 435
| Nourishment |  | 3 | 80 | 240
| Equipment Storage |  | 2 | 120 | 240
| Housekeeping Closet |  | 1 | 60 | 60
| Soiled Hold |  | 1 | 120 | 120
| Soiled Workroom |  | 1 | 140 | 140
| Oxygen Storage |  | 1 | 40 | 40
| Patient Belongings |  | 1 | 100 | 100
| Alcove, Warmer |  | 2 | 24 | 48
| Alcove, Wheelchair Storage |  | 2 | 20 | 40
| Alcove, Stretcher |  | 4 | 24 | 96
| Alcove, Radiology Storage |  | 0 | 45 | 0
| Alcove, Crash Cart |  | 2 | 10 | 20
| Alcove, Equipment/Carts |  | 2 | 40 | 80
| POC Lab |  | 4 | 10 | 40
|  |  |  | NSF Subtotal: | 2759
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 4138.5
Staff Support
| Break Room |  | 1 | 360 | 360
| Lockers |  | 0 | 60 | 0
| Toilet, Staff |  | 2 | 54 | 108
| Staff Lactation |  | 0 | 60 | 0
|  |  |  | NSF Subtotal: | 468
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 702
Administrative Support
| Office-Private |  | 1 | 100 | 100
| Office-Shared (3) |  | 1 | 140 | 140
| Multidisciplinary Team Room |  | 1 | 240 | 240
|  |  |  | NSF Subtotal: | 480
|  |  |  | Grossing Factor: | 1.4
|  |  |  | DGSF Subtotal: | 672
Building Support Per Floor
| Closet, IT (TDR) |  | 1 | 126 | 126 | 9'x14'
| Closet, Electrical |  | 1 | 108 | 108 | 9'x12'
|  |  |  | NSF Subtotal: | 234
|  |  |  | Grossing Factor: | 1.5
|  |  |  | DGSF Subtotal: | 351

## CSPD-NEW 2nd
CENTRAL STERILE PROCESSING - REDUCED 2ND
| Departmental Net Sq. Feet: | 5747
| Departmental Grossing Factor: | 1.35
| Departmental Gross Sq. Feet: | 7758.45
|  |  | Quantity | NSF/Room | Total NSF | Comment
Decontamination
| Vendor Loaner Room |  | 1 | 120 | 120
| High Level Disinfection Room |  | 0 | 150 | 0
| Soiled Trash / Hold |  | 1 | 160 | 160
| Ante/PPE |  | 1 | 40 | 40
| Cart Washer |  | 2 | 140 | 280
| Decontamination Sink, 3 Basin |  | 3 | 60 | 180
| Ultrasonic Washer |  | 3 | 30 | 90
| Instrument Washer |  | 4 | 60 | 240
| Rack Return Conveyor |  | 1 | 60 | 60
| Pass through Cabinet |  | 1 | 40 | 40
| Handwashing Station |  | 1 | 10 | 10
| Detergent Storage |  | 1 | 100 | 100
| Neptune Docking Station |  | 0 | 40 | 0
| Housekeeping Closet |  | 1 | 60 | 60
| DI Water Room |  | 0 | 150 | 0
|  |  |  | NSF Subtotal: | 1380
|  |  |  | Grossing Factor: | 1.35
|  |  |  | DGSF Subtotal: | 1863
Clean Assembly
| Clean Receiving |  | 1 | 180 | 180
| Supply Storage |  | 1 | 100 | 100
| Clean Cart Staging |  | 11 | 15 | 165
| Handwashing Station |  | 1 | 10 | 10
| Prep & Packaging Workstation |  | 7 | 100 | 700
| Clean Assembly Workroom |  | 1 | 600 | 600
| Steam Sterilizer |  | 4 | 140 | 560
| Low-temp Sterilizer |  | 3 | 30 | 90
| Cooling Area |  | 1 | 80 | 80
|  |  |  | NSF Subtotal: | 2485
|  |  |  | Grossing Factor: | 1.35
|  |  |  | DGSF Subtotal: | 3354.75
Sterile Stores / Case Cart Staging
| Case Cart Staging |  | 43 | 14 | 602
| OR Supply |  | 1 | 750 | 750
| Work Area |  | 1 | 40 | 40
|  |  |  | NSF Subtotal: | 1392
|  |  |  | Grossing Factor: | 1.35
|  |  |  | DGSF Subtotal: | 1879.2
Staff Support
| Break Room |  | 0 | 240 | 0
| Lockers, Male |  | 1 | 100 | 100
| Lockers, Female |  | 1 | 140 | 140
| Toilet/shower, staff |  | 2 | 75 | 150
| Toilet, Staff |  | 0 | 54 | 0
| Staff Lactation |  | 0 | 60 | 0
|  |  |  | NSF Subtotal: | 390
|  |  |  | Grossing Factor: | 1.35
|  |  |  | DGSF Subtotal: | 526.5
Administrative Support
| Office-Private |  | 1 | 100 | 100
| Office-Shared(2) |  | 0 | 120 | 0
|  |  |  | NSF Subtotal: | 100
|  |  |  | Grossing Factor: | 1.35
|  |  |  | DGSF Subtotal: | 135
Building Support Per Floor
| Closet, IT (TDR) |  | 0 | 126 | 0
| Closet, Electrical |  | 0 | 108 | 0
|  |  |  | NSF Subtotal: | 0
|  |  |  | Grossing Factor: | 1.3
|  |  |  | DGSF Subtotal: | 0

## Dialysis-Bedside
BEDSIDE DIALYSIS
| Departmental Net Sq. Feet: | 300
| Departmental Grossing Factor: | 1.3
| Departmental Gross Sq. Feet: | 390
|  |  | Quantity | NSF/Room | Total NSF | Comment
Patient Support
| Equipment Cleaning/Maintenance |  | 1 | 120 | 120
| Equipment Storage |  | 1 | 180 | 180
|  |  |  | NSF Subtotal: | 300
|  |  |  | Grossing Factor: | 1.3
|  |  |  | DGSF Subtotal: | 390

## OP Draw
LAB-OUTPATIENT DRAW
| Departmental Net Sq. Feet: | 430
| Departmental Grossing Factor: | 1.25
| Departmental Gross Sq. Feet: | 537.5
|  |  | Quantity | NSF/Room | Total NSF | Comment
Phlebotomy-OP Draw Lab
| Waiting, Patient |  | 0 | 20 | 0
| Blood Draw, Chairs |  | 2 | 50 | 100
| Blood Draw, Room |  | 1 | 100 | 100
| Check-in Station |  | 1 | 50 | 50
| Work/Processing Area |  | 1 | 120 | 120
| Specimen Toilet |  | 1 | 60 | 60
|  |  |  | NSF Subtotal: | 430
|  |  |  | Grossing Factor: | 1.25
|  |  |  | DGSF Subtotal: | 537.5

## Lab-RENO
LABORATORY
| Departmental Net Sq. Feet: | 2392 |  |  |  | Macro Program Placeholder: 2,480 DGSF
| Departmental Grossing Factor: | 1.2
| Departmental Gross Sq. Feet: | 2870.4
|  |  | Quantity | NSF/Room | Total NSF | Comment
CORE LAB
Specimen Processing
| Workstation/Lab Benches |  | 1 | 24 | 24
| Pneumatic Tube Station |  | 1 | 5 | 5
| Copy/Printer |  | 1 | 5 | 5
| Specimen drop off |  | 1 | 24 | 24
| Sendouts |  | 1 | 24 | 24
| Centrifuge |  | 2 | 5 | 10
| Phlebotomy Workstations |  | 1 | 24 | 24
| Phlebotomy Cart Parking |  | 12 | 5 | 60
| Handwash sink |  | 1 | 5 | 5
|  |  |  | NSF Subtotal: | 181
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 217.2
Chemistry
| Workstation |  | 0 | 10 | 0
| Benches |  | 2 | 24 | 48
| Chemistry Analyzer |  | 0 | 120 | 0
| Future Automation |  | 1 | 50 | 50
| Blood Gas Instrumentation |  | 1 | 10 | 10
|  |  |  | NSF Subtotal: | 108
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 129.6
Hematology
| Workstation |  | 2 | 10 | 20
| Benches |  | 2 | 24 | 48
| Hematology Analyzer |  | 0 | 50 | 0
| Microscope |  | 2 | 5 | 10
| Sink |  | 2 | 5 | 10
| Manual Slide prep area |  | 0 | 35 | 0
| Stainer |  | 1 | 10 | 10
|  |  |  | NSF Subtotal: | 98
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 117.6
Urinalysis
| Workstation |  | 1 | 10 | 10
| Benches |  | 1 | 24 | 24
| Urine Analyzer |  | 1 | 15 | 15
| Urine centrifuge |  | 0 | 5 | 0
| Microscope |  | 1 | 5 | 5
| Sink |  | 2 | 5 | 10
|  |  |  | NSF Subtotal: | 64
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 76.8
Coagulation
| Workstation |  | 2 | 10 | 20
| Benches |  | 2 | 24 | 48
| Centrifuge |  | 1 | 5 | 5
|  |  |  | NSF Subtotal: | 53
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 63.6
Blood Bank
| Workstation |  | 0 | 10 | 0
| Bench |  | 1 | 24 | 24
| Blood bank analyzer |  | 1 | 35 | 35
| Cell washer |  | 0 | 12 | 0
| Plasma thawer |  | 0 | 10 | 0
| Platelet incubator and rotator |  | 0 | 20 | 0
| Heat block/Dry-bath |  | 0 | 10 | 0
| Sink |  | 0 | 5 | 0
| Microscope |  | 0 | 5 | 0
| Double Door Refrigerator |  | 1 | 36 | 36
| Freezer |  | 0 | 24 | 0
| Printer |  | 1 | 5 | 5
| Pass-through window |  | 0 | 30 | 0
| Irradiator |  | 1 | 35 | 35
| Counter space |  | 1 | 24 | 24
|  |  |  | NSF Subtotal: | 159
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 190.8
Microbiology
| Workstation - Micro |  | 2 | 10 | 20
| Hood - Micro |  | 0 | 30 | 0
| Analyzer - Micro |  | 2 | 36 | 72
| Molecular Instrument |  | 1 | 36 | 36
| Microscope - Micro |  | 1 | 5 | 5
| Sink |  | 2 | 5 | 10
|  |  |  | NSF Subtotal: | 143
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 171.6
Miscellaneous
| Workstation - POC |  | 1 | 10 | 10
| Storage - POC |  | 1 | 15 | 15
| Bench - Miscellaneous Testing |  | 1 | 24 | 24
|  |  |  | NSF Subtotal: | 49
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 58.8
Supply/Storage
| 3 door Refrigerator |  | 3 | 40 | 120
| Single door Freezer |  | 1 | 24 | 24
| Small fire safety cabinet |  | 1 | 10 | 10
| Supply carts |  | 3 | 10 | 30
| Eyewash station |  | 1 | 5 | 5
| Safety shower with drain |  | 0 | 10 | 0
| Bulk Storage |  | 1 | 120 | 120
| RO Water Room |  | 0 | 100 | 0
|  |  |  | NSF Subtotal: | 309
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 370.8
Pathology
| Grossing station |  | 2 | 45 | 90
| Workstation, Pathologist |  | 2 | 30 | 60
| Cryostat |  | 2 | 30 | 60
| Microscope |  | 0 | 5 | 0
| Sink |  | 1 | 5 | 5
| Counter space |  | 1 | 24 | 24
| Storage |  | 1 | 24 | 24
|  |  |  | NSF Subtotal: | 263
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 315.6
Staff Support
| Break Room |  | 1 | 160 | 160
| Lockers |  | 1 | 40 | 40
| Toilet, Staff |  | 1 | 54 | 54
| Staff Lactation |  | 0 | 60 | 0
|  |  |  | NSF Subtotal: | 254
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 304.8
Administrative Support
| Office-Private |  | 4 | 100 | 400
| Office-Shared(4) |  | 1 | 180 | 180
| Team Room |  | 1 | 180 | 180
|  |  |  | NSF Subtotal: | 760
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 912
Building Support Per Floor
| Closet, IT (TDR) |  | 0 | 192 | 0
| Closet, Electrical |  | 0 | 168 | 0
|  |  |  | NSF Subtotal: | 0
|  |  |  | Grossing Factor: | 1.2
|  |  |  | DGSF Subtotal: | 0

## Satellite Pharmacy
SATELLITE PHARMACY
| Departmental Net Sq. Feet: | 1304
| Departmental Grossing Factor: | 1.25
| Departmental Gross Sq. Feet: | 1630
|  |  | Quantity | NSF/Room | Total NSF | Comment
Receiving
| Receiving/Breakdown |  | 0 | 60 | 0
Compounding Area
| Ante Room |  | 1 | 160 | 160
| Sterile Compounding Hood |  | 1 | 180 | 180
| Hazardous Sterile Compounding |  | 1 | 140 | 140
| Hazardous Storage |  | 1 | 100 | 100
Pharmacy Workroom
| Dispensing Window |  | 1 | 20 | 20
| Workstation |  | 3 | 45 | 135
| Pharmacy Storage |  | 1 | 60 | 60
| Unit Dose Island |  | 1 | 80 | 80
| Printer Station |  | 1 | 40 | 40
| Pneumatic Tube Station |  | 1 | 5 | 5
| Carousel Storage |  | 1 | 60 | 60
| Meds to Beds Space |  | 0 | 130 | 0
| Refrigerator, Double door |  | 1 | 40 | 40
| Freezer, Single door |  | 1 | 24 | 24
| Narcotic Storage/Work |  | 1 | 120 | 120
| Countertop |  | 1 | 40 | 40
| Office-Private |  | 1 | 100 | 100
| Lockers |  | 1 | 40 | 40
|  |  |  | NSF Subtotal: | 1304
|  |  |  | Grossing Factor: | 1.25
|  |  |  | DGSF Subtotal: | 1630